Ref ID: 161.1

Quantitative Real-Time PCR for the simultaneous determination of prognostic markers MYCN amplification, deletion 1p and 11q

Marc Boensch, André Oberthuer, Matthias Skowron, Frank Berthold, Ruediger Spitz

Department of Pediatric Oncology and Hematology, Children´s Hospital, Cologne, Germany.

Background: Due to the increasing clinical relevance of molecular markers, accurate assessment of the status of MYCN, 1p and 11q is essential. As two techniques are recommended to avoid artefacts we developed a PCR assay as an alternative to LOH-analyses and in addition to FISH.

Methods: Based on real-time Q-PCR using SYBR-Green reagent (TaqManT), we developed a new assay using genomic DNA from frozen and paraffin embedded tissue as template. Determination of deletion or amplification was achieved by comparing a target gene (TG, from the region of interest) to an unaffected reference gene (RG) within the same chromosome. PCR raw data were normalized to a serial dilution standard curve and a ratio TG/RG was created. The ratio to define a deletion was set as 0.5 (=expected ratio 1TG copy/2RG copies), amplification threshold was set as >10. Data were compared to results obtained by FISH.

Results: Results according to PCR and FISH were consistent in 8 tumors with deletion 1p, 11 with deletion 11q, 10 with MYCN amplification and 85 samples without aberrations. Three tumors with deletion 1p and 3 with deletion 11q were detectable by FISH but not by PCR. A single case indicated a deletion 11q by PCR only. The consistency between both techniques was 92% for 1p and 11q, 100% for MYCN. The discrepant cases are most likely due to a heterogeneous cell population in the investigated tissue.

Conclusion: The use of a quantitative PCR assay enables the simultaneous detection of the three most relevant chromosomal aberrations accurately as confirmed by FISH. As the assay allows the investigation of paraffin embedded material and requires no reference tissue, it can be regarded alternative to LOH- or Southern Blot analyses. Determination of the tumor cell content is crucial to avoid false-negative results.

Presentation mode(s): poster-presentation