Ref ID: 335.1

# Dosimetry in 131I-MIBG mieloablative therapy

Carlo Chiesa, Francesca Alberini, Maria Rita Castellani, Roberto  Luksch, Marta Podda, Emilio Bombardieri

Medicina Nucleare, Istituto Nazionale Tumori, Milano, Italy.

Aims: New high activity protocols of mIBG alone or in combination with chemotherapy are ongoing to improve the survival of patients refractory to conventional treatments. Open questions are: is the biological response invariant between two subsequent treatments? Which is the optimal waiting time for stem cells re-infusion to assure that residual bone marrow dose and dose rate do not damage them?

Methodology: biological curves were measured using a gamma-counter (blood and urine), a scintillation probe, and a gammacamera for four days. A measured correction to gammacamera count loss was developed. In one 7 years old patient, the marrow dose calculation was performed with two extreme hypothesis: a)no bone involvement; b)pathological lumbar spine uptake hypothetically extended to the whole skeleton.

Results: Total body radioactivity was satisfactorily measured by probe which avoids underestimation of activity due to saturation of gammacamera.

Treatment 2/12/2003 28/01/2004

Administered activity (GBq) 5.4 7.4

ABSORBED DOSE PER UNIT ACTIVITY (Gy/GBq)

Liver 0.69 0.58

Bladder wall 0.94 1.16

Red marrow 0.11a-0.80b 0.11a-0.53b

Total body 0.19a-0.15b 0.12a-0.12b

Tumor 7.22 3.24

ABSORBED DOSE (Gy)

Liver 3.7 4.3

Bladder wall 5.1 8.6

Red marrow 0.6a-4.3b 0.8a-3.9b

Total body 1.0a- 0.8b 0.9a-0.9b

Tumor 39 24

Conclusions: Red marrow dose is remarkably different from total body dose. WB curve is identical in the two treatments, while primary tumour dose and metastatic spine dose per GBq are much less in the second therapy. In the worst hypothesis (b), waiting re-infusion time are 4.3 and 2.6 days for 1st and 2nd treatment.

Presentation mode(s): oral-presentation – pc-projector